**Memorandum**

**To:** Board of Adjustment

**From:** Patricia A. Elliot

Sr. REHS

**Date:** May 13, 2020

**Re:**  ZBA-19-00040 – Dada Bhagwan Vignan Institute – 37.02/46.03

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Comments are the same as January 7, 2020.

The Health Department has no objection to this application. Permeability tests were conducted for the proposed septic design with passing results. The proposed septic design was denied as insufficient information was provided to the Health Department.

The Health Department must approve the design for the septic system as well as the proposed kitchen prior to construction permits being issued.